2/8/2019

### Excavation and Trench Housekeeping

Proper housekeeping of debris and spoils must be maintained to avoid materials falling into the trench or excavation: Remove material and debris. Store spoils, equipment and other materials that can pose a hazard at least 2 feet away, or use effective retaining devices. The work should not be done in an excavation or trench until all material and debris are properly stored, removed or retained. *Tool Box talk based on NMGC submitted by Chris McKenna P-66 Bayway.